XXX Company Name

XXX Project

Request for Quotation

2017.07.01

Contents

Introduction	3

Hardware Requirements	3

Quotation Requirements	4

Introduction

- Overview

- Main function

- Product composition

- Sales country

- Legal regulation

  - ISO13485（Medical devices - Quality management systems - Requirements for regulatory purposes）

  - ISO14971（ the application of risk management to medical devices）

  - IEC60601-1 ed4 (General requirements for basic safety and essential performance)

  - IEC62366（Application of usability engineering to medical devices）

  - IEC62304 (software Life Cycle Processes)

  - Compliance with CE、FCC、UL

  - IEC62133（Secondary cells and batteries

Hardware Requirements

- Specifications

  - Communication

    - Ethernet

      - Isolated RJ45

      - 10/100Mbit

      - IEEE 802.3

    - Wi-Fi & Bluetooth

      - RP-Male SMA 3dBi Antenna

      - RP-Female SMA to U.FL(IPEX)(Pig Tail Cable)

      - 802.11 b/g/n

      - Bluetooth 5.0 or upper

    - RS-485

      - Optical Isolation

  - I/O and Power

    - Power Input

      - 12-36V

    - Digital Inputs

      - 5 Optically Isolated High Speed (25 kHz)

      - Low-Pass-Filters and Schmitt Trigger are mandatory

      - Min 1A Endurance

      - ESD Protection

    - Outputs

      - 5 Optically Isolated High Speed outputs

      - 1 Optically Isolated Power-Input for Outputs Power

      - Min 1A Endurance

      - ESD Protection

  - Serial Ports

    - USB

      - 4 USB as 2 FS and 2 HS

      - ESD Protection

    - RS 232

      - 2 RS-232 on 2 D-SUB9 Male

      - Full duplex

      - 250kbps

      - ESD Protection

    - RS 485

      - 1 Optically Isolated RS-485 on 1 D-SUB9 Female

      - Min. 250kbps

      - ESD Protection

  - Camera

    - 5 MP

  - Others

    - 3D accelerometer and 3D gyroscope on module

- Certification

  - CE

  - FCC

  - UL

- Design and General Properties

  - Will be mounted on a vertical surface

  - Components selected in the design should meet industrial environment requirements

  - Operating Temp : 0-60ºC

  - Humidity : 5-95% relative humidity(noncondensing)

Quotation Requirements

- NRE ( non-recurring expense )

  - Hardware development

  - ID/ME development

  - Hard Tooling

  - Test fixture for mass production

- Unit price for the following quantity per order

  - 1K

  - 5K

  - 20K

- Proposed solution block diagram / key component

- Milestone and schedule